## Slide 1: Module 9: Sustainable AI and Green Communications
Lecturer Notes - Week 9

## Slide 2: Module Overview
Duration: 3 hours (2 lecture + 1 lab)
Learning Objectives:
1. Analyze telecom energy patterns
2. Design sustainable architectures
3. Apply AI for optimization
4. Assess environmental impact
5. Implement energy models

## Slide 3: Energy Efficiency in Telecom Networks
Major Energy Consumers:
• Base stations (60–80%)
• Data centers (15–20%)
• Transmission (5–10%)
• Cooling (30–40%)
ICT = 2–4% global GHG emissions
Telecom ≈ 0.2–0.3%
Vodafone: 50% energy cut by 2040

## Slide 4: Energy Efficiency Metrics
Metrics:
• PUE = Total Facility / IT Energy (<1.5 ideal)
• ECR = Joules/bit
• CUE = CO₂ / IT Energy
Reducing PUE 2.0→1.3 saves MWs/yr

## Slide 5: Sustainable Network Design
Principles:
• Intelligent densification
• Energy-aware allocation
• Green hardware
Use AI for cell placement, sleeping, and load balancing.

## Slide 6: Renewable Energy Integration
Methods:
• Solar/wind base stations
• Hybrid off-grid setups
• BESS for peak shaving
• Smart grids & demand response
Ex: Ericsson solar towers cut diesel 80%

## Slide 7: Circular Economy in Telecom
• Predictive maintenance
• Refurbishment & reuse
• E-waste management
• Recyclable design

## Slide 8: AI-Driven Energy Optimization
ML Applications:
• Forecasting (LSTM, Prophet)
• Clustering (K-means)
• Anomaly detection (Autoencoders)
Flow: Traffic → ML → Forecast → Optimize

## Slide 9: Power Management via AI
Techniques:
• Dynamic cell sleeping
• Adaptive power control
• Cooling optimization
DeepMind cut 40% cooling energy.

## Slide 10: Reinforcement Learning in Energy
RL setup:
State: traffic, energy, weather
Action: power, cell states
Reward: minimize energy, maintain QoS
Algorithms: DQN, PPO, Actor-Critic

## Slide 11: Environmental Impact Assessment
Lifecycle:
• Manufacture → Operate → Dispose
AI in:
• LCA automation
• Carbon footprint
• E-waste & biodiversity modeling

## Slide 12: Sustainability Reporting with AI
• Automated ESG reporting
• ISO 14001, GHG Protocol
• Net-zero prediction analytics

## Slide 13: Lab: Energy Modeling & Optimization
Tasks:
1. Analyze energy data
2. Forecast consumption
3. Optimize cost/carbon
4. Evaluate environmental impact
Tools: pandas, TensorFlow, Prophet

## Slide 14: Discussion & Group Work
Topics:
• AI energy trade-offs
• Renewable access equity
• Rebound effect
Group Design Challenge: sustainable 5G or off-grid networks

## Slide 15: Assessment
Lab Report (100 pts):
• Analysis – 25
• Modeling – 30
• Optimization – 25
• Impact – 15
• Docs – 5
Quiz: PUE/CUE, AI methods, CO₂ savings

## Slide 16: Key Takeaways
1. Sustainability is essential
2. AI both saves & consumes energy
3. Holistic strategies matter
4. Data-driven optimization
5. Efficiency cuts cost
6. Green AI = future opportunity

## Slide 17: Future Trends
• 6G ultra-low energy
• Edge AI
• Liquid cooling
• Green AI
• Digital twins
• Blockchain for energy trading
“The greener networks of tomorrow depend on your designs.”